Bidder Name:  ___________________

Address:	   ___________________

___________________

Telephone #:    ___________________

Facsimile:	    ___________________

Painting of the Prairie Stone Sports & Wellness Center Lap and Activity Pool Ceiling

BID DATE: April 19, 2016			BID TIME:	11:30am

PREPARED BY:

HOFFMAN ESTATES PARK DISTRICT

1685 W. Higgins Road

Hoffman Estates, IL  60169-2998

Telephone: (847) 885-7500

Facsimile:  (847) 885-7523

HOFFMAN ESTATES PARK DISTRICT

TABLE OF CONTENTS

- Invitation to Bidders

- Instructions to Bidders

- Supplementary Conditions

- Specifications

- Proposal

- Bid Proposal Form

- Bid Certification Form

- List of Subcontractors

- Contract Compliance Attachment

- Reference List

- Illinois Department of Labor Prevailing Wage Rates

- Certifications

Date:  March 31, 2016

Dear Bidder:

Enclosed you will find the plans, specifications and bidding materials for the painting of the ceiling for the Prairie Stone Sports & Wellness Center (PSS&WC) Lap and Activity Pool.  All pertinent information is included in the attached package.  Please submit the Proposal Forms, Certification, References, and Bid Bonds.  Please copy your proposal and retain one copy for your records.

Please note that there is a pre-bid meeting to inspect the project on Tuesday, April 12, 2016 at 10:00 am at PSS&WC.

I look forward to reviewing your bid proposal and working with you on this project.  If you have further questions or need to meet at the site, please contact me at 847-285-5424.  I can be reached Monday through Friday from 8:30 a.m. until 6:00 p.m.

Sincerely,

Katie Basile, MS, CPT, CPRP

Superintendent of Facilities

INVITATION TO BIDS

Sealed bids for the painting of the ceiling for the Prairie Stone Sports & Wellness Center Lap and Activity Pool will be received by the Hoffman Estates Park District at our office; 1685 West Higgins Road, Hoffman Estates, Illinois 60169 until exactly 11:30 am, Tuesday, April 19th and then publicly opened and read.  Bids submitted after the closing time will be returned unopened.  No oral or telephone proposals or modifications will be considered.

The Hoffman Estates Park District Board of Commissioners will make the final award.

Proposals shall be submitted on the attached Form of Proposal and returned in the envelope, if provided.  No bidder may withdraw his proposal after the hour set for the opening thereof, or before award of the contract, unless said award is delayed for a period exceeding sixty (60) calendar days.

The Hoffman Estates Park District requires all bidders to comply with all provisions of the Park District Prevailing Wage Ordinance O-15-006. This ordinance specifies that no less than the general prevailing rate of wages as found by the Park District or Department of Labor or determined by a court on review shall be paid each draft type of worker or mechanic needed to execute the contract or perform the work.

The Hoffman Estates Park District may reject any or all of the bids on any basis and without disclosure of a reason.  The failure to make such a disclosure shall not result in accrual of any right, claim, or cause of action by any unsuccessful Bidder against the Hoffman Estates Park District.

Bid results and the award of the bid will be published on the Hoffman Estates Park District website www.heparks.org.

Sincerely,

Katie Basile, MS, CPT, CPRP

Superintendent of Facilities

HOFFMAN ESTATES PARK DISTRICT

INSTRUCTIONS TO BIDDERS

- Identification of Project

The official name and location of the project shall henceforth be known as:

Painting of the Prairie Stone Sports & Wellness Center

Lap and Activity Pool Ceiling (PSS&WC)

5050 Sedge Blvd

Hoffman Estates, IL 60192

The official name and address of the project owner shall henceforth be known as:

HOFFMAN ESTATES PARK DISTRICT

1685 West Higgins Road

Hoffman Estates, IL   60169-2998

Pre Bid Meeting:	April 12, 2016 Tuesday, 10:00 am, PSS&WC.

Bid Opening:		April 19, 2016 Tuesday, 11:30am, Triphahn Center

Committee Approval:	May 3, 2016 Tuesday

Board Approval:	May 24, 2016 Tuesday

Contract Awarded:	May 25, 2016 Wednesday

Commencement of Work:	Commencement of paperwork shall begin immediately upon notification of award.  Actual work shall commence July 11, 2016 and shall continue with due diligence until full completion and acceptance.

Substantial Completion Date:	Approximately July 22, 2016

- Contract Documents

The Notice to Bidders, the Instructions to Bidders, the Supplementary Conditions, Drawings, Specifications, the supplied Form of Proposal, the accepted Bid Sheet and certification comprise the Contract Documents.  Copies of these documents can be obtained in person from the office of the Hoffman Estates Park District, 1685 W. Higgins Road, Hoffman Estates IL 60169-2998.

# 3.	Explanation to Bidders

Any explanation desired by a bidder regarding the meaning or interpretation of the invitation for bids, drawings, specifications, etc., must be requested in writing and with sufficient time allowed for a reply to reach bidders before the submission of their bids.

Any interpretation made will be in the form of an amendment of the invitation for bids, drawings, specifications, etc., and will be furnished to all prospective bidders.  Its receipt by the bidder must be acknowledged in the space provided on the Bid Form or by letter or telegram received before the time set for opening of bids.  Oral explanations or instructions given before the award of the contract will not be binding.

4.	Conditions Affecting the Work

Bidders should visit the site and take such other steps as may be reasonably necessary to ascertain the nature and location of the Work, the general and local conditions, which can affect the Work or the cost thereof.  Failure to do so will not relieve bidders from responsibility for estimating properly the difficulty or cost of successfully performing the Work.

5.	Bid Guarantee, Bonds and Required Paperwork

- A Bid Guarantee, five (5%) percent, is required by the invitation for bids.  Failure to furnish a Bid Guarantee in the proper form and amount by the time set for opening of bids may be cause for rejection of the bid in the absolute discretion of the Owner.

- A Bid Guarantee shall be the form of a bid bond, postal money order, certified check, or cashier’s check made payable to the Owner.  Bid guarantees, other than those stated, will be returned to the bidder upon opening of bids.  Such bids will not be considered for award (a) to unsuccessful bidders as soon as practical after the award of the job, and (b) to the successful bidder upon execution of such further contractual documents and bonds as may be required by the bid as accepted.

- The successful bidder, upon being given a "Written Notice to Proceed", will have five (5) calendar days to provide the required Labor and Material Payment Bond, Performance Bond, and Insurance Policies or certificates for same, and commence with the Work. Failure to comply with the conditions set forth in the Contract Documents shall result in the termination of the contract for default.  In such event, the Contractor may be liable for any costs of performing the work which exceed the amount of his bid, and the Bid Guarantee shall be available toward offsetting such difference, if not previously returned to the Contractor.

6.	Preparation and Submission of Bids

Before submitting proposal, each bidder shall carefully examine all documents pertaining to the Work and visit the site to verify conditions under which Work will be performed.

Submission of bid will be considered presumptive evidence that the Bidder has visited the site and is conversant with local facilities and difficulties, the requirements of the documents and of pertinent State or Local Codes, State of Labor and Material Markets, and has made due allowance in his bid for all contingencies.  Include in bid all costs of labor, material, equipment, contractor’s license, permits, guarantees, applicable taxes (sales tax does not apply), insurance and contingencies, with overhead and profit necessary to produce a completed project, or to complete those portions of the Work necessary to produce a completed project, or to complete those portions of the Work covered by the specifications on which proposal is made, including all trades, without further cost to the Owner.  The Owner shall be responsible for the building permit fee.

No compensation will be allowed by reason of any difficulties which the Bidder could have discovered reasonably, prior to bidding.

All proposals must be made upon the Proposal Form furnished by the Owner attached hereto and should give the amounts bid for work, in numbers, and must be signed and acknowledged by the contractor.  The Proposal should be enclosed in the envelope marked "Bid Proposal for Hoffman Estates Park District Painting of the Ceiling for the Prairie Stone Sports & Wellness Center Lap and Activity Pool” to be received until 11:30 am, Tuesday, April 19th showing the return address of the sender and addressed to: Hoffman Estates Park District, 1685 W. Higgins Road, Hoffman Estates, Illinois 60169.  Bids should be sealed, marked and addressed as directed above.  Failure to do so may result in a premature opening of or a failure to open such bid.

The proposal submitted must not contain erasures, inter-lineations, or other corrections unless each correction is suitably authenticated by affixing in the margin immediately opposite the correction the surname or surnames of the person or persons signing the bid.

Modifications of bids already submitted will be considered if received at the office designated in the invitation for bids by the time set for opening of bids.  Telegraphic modifications will be considered, but should not reveal the amount of the original or reversed bid.

7.	Prices

The prices are to include the furnishing of all materials, equipment, tools, insurance, bonds, warranties, and all other facilities, and the performance of all labor and services necessary for the proper completion of the Work except as may be otherwise expressly provided in the Contract Documents.

8.	Time Schedule

The timely execution of any project is extremely important.  The successful bidder shall take every means to meet the completion date stated above except for extensions granted by the Owner in writing for circumstances beyond the control of the Bidder.

9.	Late Bids and Modifications or Withdrawals

Bids and modifications or withdrawals thereof received at the office designated in the invitation for bids after the exact time set for opening of bids will not be considered.

10.	Withdrawal of Bids

Bids may be withdrawn by written or telegraphic request received from bidders prior to the time set for opening of bids.

- Public Opening of  Bids

Bids will be publicly opened at the time set for opening in the invitation for bids.  Their content will be made public for the information of bidders and others interested, who may be present either in person or by representative.

- Award of Contract

- Award of Contract will be made to the lowest responsible bidder, as determined by the Board of Commissioners of the Hoffman Estates Park District, whose bid conforms to the invitation for bid.

- The Board of Park Commissioners may reject any or all of the bids on any basis and without disclosure of a reason.  The failure to make such a disclosure shall not result in accrual of any right, claim, or cause of action by any unsuccessful bidder against the Hoffman Estates Park District.

13.	Contract and Insurance

The written contract between the accepted bidder and the Owner shall be considered finalized and entered into between the parties upon the Park District Board’s approval and award of the contract to the accepted bidder and the Park District’s execution of the accepted bidder’s Form of Proposal, and said written contract shall be comprised by the Contract Documents.  The accepted bidder shall provide the Owner with a Labor and Material Payment Bond, Performance Bond, and copies of applicable Insurance Policies and endorsements and certificates for same within five (5) calendar days of the “Written Notice to Proceed” and prior to the commencement of work.

- Postponement of Date for Opening Proposals

The Owner reserves the right to postpone the date of presentation and opening of proposals and will give telegraphic notice of any such postponement to each interested party.

SUPPLEMENTARY CONDITIONS

SECTION I – GENERAL

- Application

These Supplementary Conditions shall be used in conjunction with and are a part of any and all Sections of the Specifications and all Contracts and Subcontracts that may be made for the completion of the work in all its parts as identified and described in the Contract Documents.

- Definitions

Owner: The Hoffman Estates Park District, Board of Commissioners, Staff and its appointed Owner's representative.

Contractor: A firm, corporation or individual with whom the Owner makes a direct Contract for the construction of all or any portion of the work.

Architect/Engineer:	The authorized representative of the Owner.

Subcontractor: A firm, corporation or individual other than employees of a Contractor with whom a Contractor or Subcontractor makes a contract to furnish labor, and/or materials, and/or services in connection with the project.

Owner Representative:  An employee of the Hoffman Estates Park District responsible for the coordination of the work involved on the project.

The words "approve", "equal to", "as directed", etc., are interpreted and will be taken to mean "to the satisfaction of the Owner."  Samples shall be submitted and approvals shall be requested in ample time to avoid any delays should resubmission of an item be necessary.

- Contract Documents

The Contract Documents shall consist of the Notice to Bidders, the Instructions to Bidders, the Supplementary Conditions, the Drawings, the Specifications, the supplied Form of Proposal, and the accepted Bid Sheet and certification.

- Bonds

- With proposal, and attached hereto, each Bidder shall furnish Bid Security payable to the Owner in the amount of 5% of bid.

- Include allowance in Lump Sum Proposal for Performance Bond and Labor and Materials Payment Bond in the amount of 100% of Contract Price.

1.	 The Contractor, before commencing the Work, shall furnish a Performance Bond and a Labor and Material Bond. The Performance Bond shall be in an amount equal to 100% of the full amount of the Contract Sum as security for the faithful performance of the obligation of the Contract Documents, and the Labor and Material Payment Bond shall be in an amount equal to 100% of the full amount of the Contract Sum as security for the payment of all persons performing labor and furnishing materials in connection with the Contract Documents. Such bonds shall be on standard AIA Documents, issued by the American Institute of Architect/Engineers, shall be issued by a surety satisfactory to the Owner, and shall name the Owner as a primary co-obligee. The cost of the bonds is to be included in the Bid Proposal. The Performance Bond and Labor and Material Payment Bond will become a part of the Contract. Each Bidder shall list the name of the surety company that will be furnishing the Bonds on its Bid Proposal. The failure of a Bidder to list the name of its surety company on its Bid Proposal shall be a non-responsive bid. The failure of the successful Bidder to supply the required Bonds within five (5) days after the Notice of Award or within such extended period as the Owner may grant if the forms do not meet its approval shall constitute a default, and the Owner may either award the Contract to the next responsible, responsive Bidder or re-advertise for bids. A charge against the defaulting Bidder may be made for the difference between the amount of the bid and the amount for which a contract for the work is subsequently executed, irrespective of whether the amount thus due exceeds the amount of the bid guarantee.

2.	The Contractor shall deliver the required bonds to the Owner not later than five (5) days following the date the Agreement is entered into, or if the Work is to be commenced prior thereto in response to a letter of intent, the Contractor shall, prior to the commencement of the Work, submit evidence satisfactory to the owner that such bonds will be furnished.

3.	The contractor shall require the attorney-in-fact who executed the required bonds on behalf of the surety to affix thereto a certified and current copy of the power of attorney.

4.	Whenever the Contractor shall be and is declared by Owner to be in default under the Contract, the Surety and the Contractor are each responsible to make full payment to the Owner or any and all extra Work incurred by the Architect/Engineer as a result of the Contractor’s default, and to pay to Owner all attorney’s fees and court costs incurred by Owner as a result of the Contractor’s default, and in protecting Owner’s rights under the Agreement to remedy Contractor’s default.

5.	The Contractor shall (i) furnish all Surety Company’s bonds through Surety Company’s local agents approved by and/or as directed by Owner; (ii) fully covered and guarantee with said bond the faithful performance and completion of the entire Contract, including without limitation, the faithful performance of prevailing wage requirements; and (iii) guarantee with said bond payment in all cases by the Contractor or by the Surety Company for all labor performed, material and supplies furnished with the entire Work in the Contract. Said Bond shall remain in full force and effect during the entire period of all general guarantees given by the Contractor with the Contract as called for in the Specifications and Contract, except in cases where other bonds are specifically called for in the specifications and Contract in connection with special guarantees.

- Payment

The Contractor may present estimate of work for which he desires payment no later than the first Monday of each month, based on cost of labor and material incorporated into the work.  Estimate shall be a Sworn Statement and shall show relative amount of each item completed.  Submit Partial Waivers of Lien, including for first payout, from Contractors, Subcontractors and Material Suppliers with Sworn Statement for monthly payout.  Payments will be made within approximately thirty (30) days after review by the Owner.  Notwithstanding, anything to the contrary contained in the Contract Documents, payouts are to be made by checks payable to the Contractor.  The Contractor will be required to submit a sworn payroll statement according to the Illinois Department of Labor documenting his compliance with the Illinois Prevailing Wage Act.

Final Payment will be made within approximately thirty (30) days of final inspection and approval and receipt of all waivers, sworn statements, guarantee statements, and other documents set forth in the Contract Documents.

- Preparation of Bids

Before submitting proposal, each bidder shall examine carefully all documents pertaining to the work and visit the sites to verify conditions under which work will be performed. Submittal of the Bid Proposal by the Contractor is a representation by the Contractor, that the Contract Documents are full and complete, are sufficient to enable the Contractor to determine the cost of the Work and that the Contract Documents are sufficient to enable it to construct the Work outlined therein, in accordance with applicable laws and regulations, and otherwise to fulfill all its obligations hereunder, including, but not limited  to, Contractor’s obligations to construct the Work for an amount not in excess of the contract Sum on or before the date(s) of Completion established in the Agreement. The Contractor further acknowledges and declares that it has visited and examined the Project site, examined all physical and other conditions affecting the Work and is fully familiar with all of the conditions thereon and thereunder affecting the same. In connection therewith, Contractor specifically represents and warrants to Owner that prior to the submission of its bid it has: (a) thoroughly examined the location of the work to be performed, is familiar with local conditions, and has read and thoroughly understands the Contract Documents as they relate to the physical conditions prevalent or likely to be encountered in the performance of the work at such location; (2) examined the nature, location and character of the general area in which the Project is located, including without limitation, its climatic conditions, available labor supply and labor costs, and available equipment supply and equipment costs; and (3) examined the quality and quantity of all materials, supplies, tools, equipment, labor, and professional services necessary to complete the Work in the manner and within the cost and time frame required by the Contract Documents.

Submission of bid will be considered presumptive evidence that the Bidder has visited the site and is conversant with local facilities and difficulties, the requirements of the documents and of pertinent State, County or Local Codes, State of Labor and Material Markets, and has made due allowance in his bid for all contingencies.

Include in bid all costs of labor, material, equipment, allowance, fees, permits, guarantees, applicable taxes (sales tax does not apply), insurance and contingencies, with overhead and profit necessary to complete those portions of the work covered by the specifications on which proposal is made, including all trades, without further cost to the Owner.  Obtain all permits and arrange for all inspections.  Pay all fees, permits and costs incurred.

No compensation will be allowed by reason of any difficulties, which the Bidder could have discovered prior to bidding.

- Fees and Inspection

The Contractor is responsible for all license fees and arrangements for all inspections required by State, County, Local and other authorities having lawful jurisdiction.  The Owner is responsible for all building permit fees associate with the Work.

- Subcontracts

Contractors operating under direct Contracts with the Owner may let Subcontracts for the performance of such portions of the work as are usually executed by special trades.  All such Subcontracts shall be based on conformance with all pertinent conditions set forth in the Contract Documents, including the Supplementary Conditions as well as the detailed requirements of the portions of the drawings and specifications which depict or describe the work (labor and materials) covered by the Subcontract.

No Work may be sublet without approval of the Owner, who reserves the right to disapprove any proposed Subcontractor whose record does not establish his experience, competence, and financial ability to perform the work.

- Materials

Materials shall conform to the drawings, specifications, manufacturer's specifications for all products incorporated into the work, and all applicable standards and guidelines.

Some specific equipment and materials have been specified for use on this project to establish minimum performance requirements or desired features.  To receive consideration of alternate equipment or materials, the Bidder must submit all appropriate product data and receive pre-bid approval from the Owner.  All materials are subject to the approval by the Owner both before and after incorporation in the project.

All condemned material or work shall be removed from the premises and properly disposed of.

- Law Compliance

All project construction work shall comply with all State and Municipal Laws and Regulation, and with all Local Ordinances and Rules pertaining to this work.  Such Laws, Regulations, Ordinances and Rules shall be considered a part of these specifications.

- The Contractor warrants that it is familiar with and shall comply with Federal, State and local laws, statutes, ordinances, rules and regulations and the orders and decrees of any courts or administrative bodies or tribunals in any manner affecting the performance of the Contract including without limitation Workers= Compensation Laws, minimum salary and wage statutes and regulations, laws with respect to permits and licenses and fees in connection therewith, laws regarding maximum working hours. No plea of misunderstanding or ignorance thereof will be considered.

- Whenever required, the Contractor or Subcontractor shall furnish the Architect/Engineer and Owner with satisfactory proof of compliance with said Federal, State and local laws, statutes, ordinances, rules, regulations, orders, and decrees.

- Contractor shall carefully examine the Occupational Safety and health Act as issued by the Federal Register (OSHA), and the specific regulations governing procedures, techniques, safety precautions, equipment design, and the configuration of the same as required under this Act and shall comply with all terms of the Act and to perform and complete in a workmanlike manner all work required in full compliance with said Act.

- Contractor shall comply with all terms of the Illinois Preference Act and all terms of the Equal Employment Opportunity Clause of the Illinois Fair Employment Practices Commission.

- At all times Contractor shall remain in compliance with the Illinois Public Works Employment Discrimination Act (775 ILCS 10/1, et seq.,) and the Illinois Human Rights Act (775 ILCS 5/2-101, et seq.,), and in addition shall at all times comply with Section 2-105 of the Illinois Human Rights Act requiring a written sexual harassment policy as defined therein.

- Contractor and all subcontractors shall be solely responsible for complying with the Substance Abuse Prevention on Public Works Projects Act, Public Act 095-06345.

- Contractor agrees to maintain all records and documents for projects of the District in compliance with the Freedom of Information Act, 5 ILCS 140/1 et seq. In addition, Contractor shall produce records which are responsive to a request received by the District under the Freedom of Information Act so that the District may provide records to those requesting them within the time frames required. If additional time is necessary to compile records in response to a request, then Contractor shall so notify the District and if possible, the District shall request an extension so as to comply with the Act. In the event that the District is found to have not complied with the Freedom of Information Act due to Contractor’s failure to produce documents or otherwise appropriately respond to a request under the Act, then Contractor shall indemnify and hold the District harmless, and pay all amounts determined to be due including but not limited to fines, costs, attorney’s fees and penalties.

- Contractor understands, represents and warrants to the Owner that the Contractor and its Subcontractors (for which the Contractor takes responsibility to insure that they comply with the above-mentioned Acts) are in compliance with all requirements provided by the Acts set forth in Article 15 and that they will remain in compliance for the entirety of the Work. A violation of any of the Acts set forth in this Article is cause for the immediate cancellation of the Contract. However, any forbearance or delay by the Owner in canceling this Contract shall not be considered as, and does not constitute, Owner=s consent to such violation and a waiver of any rights the Owner may have, including without limitation, cancellation of this Contract.

- Contractor and each of its Subcontractors shall pay prevailing wages as established by the Illinois Department of Labor for each craft or type of work needed to execute the contract in accordance with 820 ILCS 130/.01 et seq. The Contractor shall prominently post the current schedule of prevailing wages at the Contract site and shall notify immediately in writing all of its Subcontractors, of all changes in the schedule of prevailing wages. Any increases in costs to the Contractor due to changes in the prevailing rate of wage during the terms of any contract shall be at the expense of the Contractor and not at the expense of the Owner. The change order shall be computed using the prevailing wage rates applicable at the time the change order work is scheduled to be performed. The Contractor shall be solely responsible to maintain accurate records as required by the prevailing wage statute and shall be solely liable for paying the difference between prevailing wages and any wages actually received by laborers, workmen and/or mechanics engaged in the Work

- Supervision

The Contractor shall maintain a highly qualified technician on the job site at all times.  The Contractor shall enforce strict discipline and good order among his employees and the Subcontractors at all times work is in progress.  The Contractor shall not employ any unfit person or anyone not skilled in the work assigned to him.

- Equipment and Tools

Furnish and maintain all equipment tools and apparatus, scaffolding, and all temporary work and materials necessary to perform the work.

- Expediting

Place orders for materials and equipment immediately upon receipt of Contract or Notice to Proceed and follow up vigorously to insure adequate and timely supply to the work.  Perform all tracings and expediting actions and arrange to get workmen in the job at the proper time to avoid delays.

14.	Sanitary

The Contractor shall provide suitable, temporary toilet facilities at a specified location, for workmen on the project, complying in every respect with Local and County requirements.  Unit shall be chemically treated, serviced at regular intervals, and maintained in a sanitary condition at all times.

15.	Existing Utilities

The Contractor shall be responsible for locating and protecting all existing utilities, public and private, for the duration of the job.  Prior to the commencement of any work, the Contractor shall notify all public and private utilities for the purpose of verifying, marking, and recording the locations of all under ground or overhead utilities, temporary or permanent.  Any repair/replacement costs or associated damage will be the responsibility of the Contractor.

16.	Testing and Observations

The Contractor shall give the Owner, Village Inspector, and Manufacturer's Representative proper notice of readiness of Work for all required observations, tests, or reviews.

If Laws or Regulations of any public body having jurisdiction requires any Work (or part thereof) to specifically observed or tested, Contractor shall assume full responsibility therefor, pay all costs in connection therewith and furnish Engineer with the required certificates of inspection, testing, or approval.  Contractor shall be responsible for and pay all costs in connection with any inspection or testing required in connection with Owner's or Manufacturer's agreed to Supplier of materials or equipment proposed to be incorporated into the Work, or of materials or equipment submitted for approval prior to the Contractor's purchase thereof for incorporation in the Work.

The cost of all observations, tests, and approvals in addition to the above which are required by the Contract Documents shall be paid by the Owner (unless otherwise specified).

All observations, tests, or reviews other than those required by Laws or Regulations of any public body having jurisdiction shall be performed by organizations agreed to by Owner and Contractor (or Manufacturer if so specified).

Should testing reveal deficiencies due to Contractor error, subsequent testing costs shall be paid by Contractor.

If any work (including the work of others) that is to be observed or tested is covered without the written concurrence of the Owner, it must, if requested by Engineer, be uncovered of observation.  Such uncovering shall be at the expense of the Contractor unless Contractor has given Owner or Village Inspector timely notice of Contractor's intention to cover such work and Engineer has not acted with reasonable promptness in response to such notice.  Neither observations by Owner nor observations, tests, nor reviews by others shall relieve the Contractor from his obligations to perform the work in accordance with the Contract Documents.

17.	Acceptance Preceding Work (if applicable)

Before starting any operation, the Contractor and Subcontractors shall examine work performed by others to which his work adjoins or is applied and report any condition that will prevent satisfactory accomplishment of his Contract.  Failure to notify the Owner in writing of deficiencies or faults in preceding work will constitute acceptance thereof and waiver of any claims and its unsuitability.

18.	Cutting and Patching

When necessary to cut or alter completed work to accommodate another trade, the Contractor or Subcontractor for work in places, shall do all cutting for and repair of portions of the work so disturbed.  Where cutting is necessitated by fault or negligence of another Contractor, all costs of cutting and repairing shall be borne by the party at fault.

19.	Damage to Current

Each Contractor shall adequately protect all preceding work from damage caused by him or his works.  All breakage or damage will be repaired by trade concerned at the cost of the party causing damage.  Each Contractor, however, shall be responsible for adequate protection of his own work against normal construction risks.

20.	Housekeeping

Keep site of operations free from accumulations of rubbish and waste materials at all times.  See that Subcontractors remove and dispose of their rubbish.  Arrangements for removal and disposition of rubbish will be made by Contractors concerned at no cost to the Owner.

Should any Contractor or Subcontractor allow rubbish or waste material to accumulate on any portion of the site or in any portion of the building to such extent that the accumulation constitutes a hazard or obstructs the prosecution of the work in any way.  The Owner may, if Contractor or Subcontractor at fault fails to remove such rubbish or waste materials within three (3) days after written notice to clear up the accumulation, engage prior labor or services of another Contractor to make necessary removal and disposition and to charge cost against monies due to Contractor or Subcontractor at fault.

21.	Protection

- Property:  Each Contractor and Subcontractor shall take such precaution as are necessary adequately to protect from damage or deterioration and to safeguard from theft or pilferage, all materials, tools and equipment pertaining to his work which are on 	the site, whether stored or incorporated in the structure.

- Safety: Provide all barricades or other temporary protection as may be required by local authorities having lawful jurisdiction, or be considered of general safety, around all openings in floors and walls of the structure, and around all open pits or trenches in its vicinity.

- Weather: Each Contractor and Subcontractor shall at all times provide protection against rain, snow, wind storms, frost or heat so as to maintain all work, materials, apparatus, and fixtures, free from injury or damage.

At the end of each day's work, all new work subject to damage by the elements and all points where water or frost may enter any part of the structure or work shall be covered.

D.	Water: General Contractor shall at all times protect excavations, trenches, and building from damage from rain water, snow, spring water, ground water backing up of drains or sewers and all other water.  He shall provide all pumps and equipment enclosures required for such protection.

He shall also construct and maintain any temporary drainage necessary to direct or lead water away from the work and shall do all pumping necessary to keep excavation and lowest floor free of water at all times.

E.	Damage: All work damaged by failure to provide protection shall be removed and replaced with new work at the expense of the Contractor at fault.

22.	Guarantee

The Contractor and/or manufacturer shall provide a minimum of one (1) year warranty for all materials and workmanship associated with the project or work performed under the Contract.

23.	Insurance

- Worker’s Compensation

  - State:  Statutory

  - Applicable Federal (e.g., Longshoremen’s): Statutory

  - Employer’s Liability

    - $1,000,000.00 Per Occurrence

    - $500,000.00 Disease, Policy Limit

    - $500,000.00 Disease, Each Employee

- If written under Commercial General Liability Policy Form

  - $2,000,000.00 General Aggregate

  - $1,000,000.00 Products Completed Operations Aggregate

  - $1,000,000.00 Personal and Advertising Injury

  - $1,000,000.00 Each Occurrence

  - $     50,000.00 Fire Damage (any one fire)

  - $     50,000.00 Medical Expense (any one person)

- Business Automobile Liability (including owned, non-owned and hired vehicles):

  - Bodily Injury

    - $1,000,000.00 Per Person

    - $1,000,000.00 Per Accident

  - Property Damage

    - $1,000,000.00 Per Occurrence

- Umbrella Excess Liability

  - $2,000,000.00 over Primary Insurance

  - $2,000,000.00 Retention for Self-Insured Hazards Each Occurrence

- General: The Contractor shall not commence work under the Contract until he has obtained all insurance required, and it has been approved by the Owner, nor shall Contractor allow any Subcontractor to commence work on any portion of the work until all insurance required of the Subcontractor and Sub-subcontractor has been similarly approved by the Owner.

All such insurance shall be purchased only from companies licensed and duly authorized by the Department of Insurance of the State of Illinois to do business in Illinois and to write the types of insurance policies as herein specified.  Insurance companies must have a minimum policy holder's rating of A+ and a financial rating of AAAAA as stated in the latest edition of Best's Insurance Guide.

The insurance coverages must be maintained by the Contractor and the Subcontractor until all work is completed by the Contractor and accepted by the Owner.  If the policy is written on claims made basis, then the Contractor shall purchase such additional insurance as may be necessary to provide specified coverage to the District for a period of not less than five (5) years from the completion of the work.

- Automobile Liability:  Contractor shall obtain at his expense and keep in force at all times during the performance of the work, Comprehensive Automobile Liability Insurance providing for bodily injury, personal injury and property damage, limits of an amount not less than $500,000 per occurrence and $1,000,000 per annual aggregate.

- General Liability Insurance: Contractor shall obtain at his expense and keep in force at all times during the performance of the work, Comprehensive General Liability Insurance providing for bodily injury, personal injury and property damage, limits of not less than $1,000,000 per occurrence and $1,000,000 annual aggregate.

- Worker's Compensation and Employer's Liability Insurance:  Contractor shall obtain at his expense and keep in force at all times during the performance of work, worker's compensation and related insurance coverage at amounts required by statute and employer's liability with limits of not less than $1,000,000 per occurrence.

- Certificates of Insurance: Within five (5) calendar days after receipt of the "Written Notice to Proceed", the Contractor shall file with the Owner, a Certificate of Insurance and Policy Endorsement showing complete coverage of all insurance required by this Section signed by the insurance companies or their authorized agents, certifying to the name and address of the party insured, the description of the work covered by such insurance, the insurance policy numbers, the limits of liability of the policies and the dates of their expirations, with a further certification from said insurance companies that their policies will not be modified, amended, changed, cancelled or terminated without thirty (30) business days prior written notice to the Owner.  If any form of umbrella or excess coverage policy is utilized by the Contractor, the Owner reserves the right to require a copy of the entire policy.

- All policies of insurance purchased or maintained in fulfillment of this paragraph 24 shall name the Owner and Architect/Engineer as additional insureds thereunder.

- Failure of Owner to demand any certificate, endorsement or other evidence of full compliance with these insurance requirements or failure of Owner to identify a deficiency from evidence that is provided shall not be construed as a waiver of Contractor’s obligation to maintain such insurance. The Contractor agrees that the obligation to provide the insurance required by these documents is solely its responsibility and that this is a requirement which cannot be waived by any conduct, action, inaction or omission by the Owner.

- Nothing contained in the insurance requirements of the Contract Documents is to be construed as limiting the liability of the Contractor, the liability of any Subcontractor or any tier or either of their respective insurance carriers. The Owner, does not in any way, represent that the coverages or limits of insurance specified is sufficient or adequate to protect the Owner, Contractor, Architect/Engineer, or any Subcontractor’s interests or liabilities but are merely at minimums. The obligation of the Contractor, the Architect/Engineer, and any Subcontractor of any tier to purchase insurance, shall not, in any way, limit their obligations to the Owner in the event the Owner should suffer an injury or loss in excess of the amount recoverable through insurance, or any loss or portion of the loss which is not covered by either the Contractors or any Subcontractor insurance.

- On the Certificate of Insurance, delete in the cancellation provision the following words, "Endeavor to" and "but failure to mail such notice shall impose no obligation or liability of any kind upon the company, its agents or representatives."

- All the insurance required of the Contractor shall state that the coverage afforded to the additional insureds shall be primary insurance of the additional insureds with respect to claims arising out of operations performed by or on their behalf. If the additional insureds have other insurance or self-insured coverage which is applicable to the loss, it shall be on an excess or contingent basis.

- All insurance required of the Contractor shall provide that any failure to comply with reporting provisions of the policies shall not affect coverage provided to the Owner or Architect/Engineer or any of their officers, directors, commissioners, officials, employees, consultants, volunteers, or agents. l. All insurance required of the Contractor shall provide that the insurance shall apply separately to each insured against whom claim is made or suit is brought, except with respect to the limits of the insurer’s liability.

- In the event the Contractor fails to furnish and maintain the insurance required by this contract, the Owner may purchase such insurance on behalf of the Contractor, and the Contractor shall pay the cost thereof to the Owner upon demand or shall have such cost deducted from any payments due the Contractor. The Contractor agrees to furnish to the Owner the information needed to obtain such insurance.

- In order to protect the Owner and Architect/Engineer the Contractor shall require that all its Subcontractors purchase insurance protecting the Owner and Architect/Engineer to the same extent they are protected by the insurance required herein from the Contractor.

- Owner’s Liability Insurance

1. 	The Contractor shall purchase and maintain insurance covering the Owner's liability for claims which may arise from operations under the Contract and that will protect the Owner and the Architect/Engineer and their agents and employees from and against all claims, damages, losses and expenses including attorney's fees arising out of or resulting from the performance of the work, provided that any such claim, damage, loss or expense (1) is attributable to bodily injury, sickness, disease or death, or to injury or to destruction of tangible property (other than the work itself) including the loss of use resulting therefrom and (2) is cause in whole or in part by any negligent act of omission of the Contractor, and Subcontractor, anyone directly or indirectly employed by any of them, or anyone for whose acts any of them may be liable, regardless of whether or not it is caused in part by a party to whom insurance is afforded pursuant to this paragraph. The minimum limits of liability purchased for such coverage shall be equal to the aggregate of the limits required for the Contractor’s Liability Insurance under 24 above.

2. 	In any and all claims against the Owner or the Architect/Engineer or any of their agents or employees by any employee of the Contractor, any Subcontractor, anyone directly or indirectly employed by any of them, or anyone for whose acts any of them may be liable, the insurance obligation under this paragraph shall not be limited in any way by any limitation on the amount or type of damages, compensation or benefits payable by or for the Contractor or any Subcontractor under Workmen's Compensation Acts, disability benefit acts or other employee benefit acts.

3. 	The insurance obligations of the Contractor under this paragraph shall not extend to the liability of the Architect/Engineer, his agents or employees arising out of (1) the preparation or approval of maps, drawings, opinions, reports, surveys, change orders, designs or specifications or (2) the giving of or failure to give directions or instruction by the Architect/Engineer, his agents or employees provided that such giving or failure to give is the primary cause of the injury damage.

4. 	The Contractor shall provide the Owner with the Original policy and shall furnish the Architect/Engineer a memorandum copy of said policy. The named insured in the Protective Liability Policy shall be: Hoffman Estates Park District

24.	Indemnification

To the fullest extent permitted by law, the Contractor shall waive any right of contribution against the Owner and shall indemnify and hold harmless the Owner and the Architect/Engineer and their officers, officials, employees, volunteers and agents from and against all claims, damages losses and expenses, including, but not limited to, legal fees (attorney’s and paralegal’s fees, expert fees and court costs), arising out of or resulting from the performance of the Contractor’s work provided that any such claim, damage, loss or expense is attributable to bodily injury, sickness, disease or death, or injury to or destruction of property, other than the work itself, including the loss of use resulting therefrom, or is attributable to misuse or improper use of trademark or copyright protected material or otherwise protected intellectual property, to the extent it is caused in whole or in part by any wrongful or negligent act or omission of the Contractor, any Subcontractor, anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable. Such obligation shall not be construed to negate, abridge or otherwise reduce any other right to indemnity which the Owner would otherwise have. The Contractor shall similarly, protect, indemnify and hold and save harmless, the Owner, its officers, officials, employee, volunteers and agents against and from any and all claims, costs, causes, actions and expenses, including, but not limited to, legal fees, incurred by reason of Contractor’s breach of any of its obligations under, or Contractor’s default of any provisions of the Contract. The indemnification obligations under this paragraph shall not be limited in any way by any limitation on the amount or type of damages, compensation, or benefits payable by or for the Contractor or any subcontractor under Workers’ Compensation or Disability Benefit Acts or Employee Benefit Acts

25.	Labor Law

The Contractor and each and every Subcontractor performing work at the site of the project to which this Contract relates shall comply with applicable and provisions of all pertinent Federal, State, and Local Labor Laws.

26.	Final Cleaning

Just prior to delivery of the job to the Owner, the Contractor shall perform a final cleaning of the equipment and haul away from the job site all debris created by his work on the site and surrounding area.

27.	Time Schedule/Major Repairs

Work under the Contract shall commence within five (5) calendar days after given "Written Notice to Proceed" by Owners (or date specified) and shall continue with due diligence until due completion.

Each Contractor or Subcontractor shall and does hereby agree that he will start and prosecute his work so as to cause no delay to the Contractor and that he will complete all work under his Contract coincidentally with completion of Contractor's work.

The Contractor shall submit an estimated time schedule setting up order of procedure and time allowed for each branch of work.  Contractor shall make every effort to adhere to these schedules, but reasonable modifications will be permitted from time to time to compensate for delays due to strikes or conditions beyond Contractor's control, exclusive of weather.

28.	Avoidance of Delays (Major Repairs)

Each Contractor and Subcontractor shall be furnished a copy of the "Time Schedule" referred to above, and each shall so prosecute his work that he not only maintains his progress in accordance with the said Time Schedule but also shall cause no delays to other Contractors, either in person or through a Subcontractor, fail to maintain progress according to the approved Time Schedule or cause delay to another Contractor or Subcontractor, he shall furnish such additional labor and/or services or work such overtime as may be necessary to bring his operation up to schedule with no additional cost to Owner.  Failure to maintain schedule or to the above steps to regain the agreed time schedule shall constitute default within the terms of the Contract and grounds on which the Owner may have recourse to the Contractor's Surety for remedial action.

29.	Unit Prices and Measurement (if applicable)

Upon completion of the work, a final measurement will be conducted by the Contractor and Owner.  Unit prices included in the bid proposal will be applied to the units measured to determine the final/total price of the work.

30.	Assignment

The Contractor or any Subcontractor shall not assign the Contract nor any monies due to become due to him hereunder, to any Person, Firm, or Corporation without previous written consent of the Owner.

31.	Extras

No extra work shall be allowed or paid for unless a Change Order is made and accepted by the Owner in writing.

32.	Examination of Site

Before submitting proposal, contractors shall examine site.  Such an examination will be presumed and no allowance will be made for extra labor or materials due to Contractor's failure to do so. Any information furnished by the Owner shall not constitute a representation concerning site conditions and the Contractor shall bear, solely and exclusively, all costs due to concealed, unknown, unusual or otherwise unforeseen conditions at the site. Contractor is aware that all such risk concerning site conditions is borne by it, has considered such in making its bid, and therefore freely waives all of its rights under the Illinois Public Construction Contract Act of 1999.

33.	Safety

The Contractor is responsible for the safe passage of pedestrian traffic for the duration of the job.  Any precautionary measures, necessary warning signs, barricades, etc., required to inform the general public of potential hazards or dangers and as necessary to assist the Contractor in the performance of the work, shall be at his expense and provided for in his quoted price.  Public safety is a foremost concern of the Owner; therefore failure by the Contractor to take a pro-active approach to safety is unacceptable.  If necessary, the Owner will take whatever steps deemed appropriate, at the cost of the Contractor, to ensure the safety of the general public and our employees.

34.	Personnel

If any person employed on the work site be, in the opinion of the Owner, intemperate, disorderly, incompetent, willfully negligent or dishonest in the performance of his duties, he shall be directed to cease work and vacate the job site immediately.

35.	Liens

No payment shall become due until the Contractor, if required, shall deliver to Owner a complete release of all liens arising out of this Contract, or receipts in full in lieu thereof and, if required in either case, an affidavit that so far as he has knowledge or information, the releases and receipts include all the labor and material for which a lien could be filed.  If any lien remains unsatisfied after all payments are made, the Contractor shall refund to the Owner all monies that the latter may be compelled to pay in discharging such a lien, including all costs and a reasonable attorney's fee.

36.	Default

In case of default by the Contractor, the Owner may procure the articles or services from other sources and hold the Contractor responsible for any excess cost occasioned thereby.

37.	Cancellation of Contract

If the Contractor or any of his Sub-contractors shall, in the judgment of the Hoffman Estates Park District, be unable to carry on the work satisfactorily, or if the Contractor or any of his Sub-contractors shall violate any of the provisions of this contract, or in case of bankruptcy of the Contractor, or failure of the Contractor to pay for supplies or workmen, or a work-stoppage, or a failure by the Contractor to provide sufficient workmen or sufficient material for the job, the Owner may serve written notice upon the Contractor and his Surety of his intention to terminate the Contract, and, if within seven (7) days after the service of such notice, the Contractor or the Sub-contractor or the Surety have not proceeded to carry on the work in accordance with this Contract and to the satisfaction of the Owner, this Contract shall cease and terminate and the Owner shall have the right to take over the work and prosecute the same to completion by Contract for the account and at the expense of the Contractor and the Surety; and the Contractor and Surety shall be liable to the Owner for any excess costs occasioned by the Owner thereby, and in such event the Owner may take possession of and utilize in completing the work such materials, appliances, and plants as may be on the site of the work and necessary therefore; provided, however, that in the event the Owner determines that the failure of the Contractor, Sub-contractor or Surety to carry on the work in accordance with this Contract has resulted in an emergency which will require that the Owner take over the work immediately, to avoid loss or waste of a substantial part of the work already performed, the Owner may immediately take over the work and prosecute the same at the expense of the Contractor and Surety to the extent necessary to avoid damage, and may prosecute the same at the expense of the Contractor and Surety to the extent necessary to avoid damage, and may prosecute the same to completion at the expense of the Contractor and the Surety unless within seven (7) days after the services of the above described notice, the Contractor, Sub-contractor or Surety has proceeded to carry on the work in accordance with this Contract and to the satisfaction of the Hoffman Estates Park District.

38.	Lien Waivers (if applicable)

Neither by partial nor final payment will the Owner be deemed to have waived any remedy for defective work or negligence on the part of the Contractor or any other portion of the Contract which, by its nature, survives after time of payment.

Supporting partial Waivers of Lien for each Subcontractor, supplier and prime contractor must accompany each request for progress payment.

Waivers must spell out exact description of work performed for which Waiver is issued and state whether dollar amount is full amount received or amount of work less retainage, held by prime contractor.

For final payment it is necessary to submit final waivers in the full amount of the Contracts for all Subcontractors, suppliers and prime contractors.

Waivers must be accompanied by a sworn statement listing Subcontractors and suppliers, the amount of their Contracts and the amount requested.

39.	Line and Grade Stakes (if applicable)

Stakes for lines and grades shall be provided once by the Engineer.  Costs for replacement of damaged stakes shall be paid by the Contractor.  Prior to commencing work and before pouring or finally adjusting any structure or closing any excavation, the Contractor shall verify the correctness of any grades so as to conform to the Contract Documents.

40.	Construction Observation

A Consultant may be called upon to observe the work on behalf of the Owner and will provide general assistance during construction insofar as proper interpretation of the Contract Documents is affected.  The consultant shall not be responsible for the acts or omissions of the Contractor's superintendent or other employees.

All materials used and all completed work by the Contractor shall be subject to the observation of the Owner/Owner's representative.  The Contractor shall furnish such samples of materials for examination and tests as may be requested by the Owner and shall furnish any information required concerning the nature or source of any materials or equipment, which he proposes to use.  Any material, equipment, or work which does not satisfactorily meet the Contract Documents may be rejected by the Owner by giving written notice to the Contractor.  All rejected materials, equipment, or work shall be promptly removed and replaced at the Contractor's expense.

41.	Field Representatives

Field representatives may be appointed by the Owner, Architect or Engineer to see that the work is performed in accordance with the Contract Documents.  Field representatives shall have the authority to condemn and/or reject defective work materials.  Only the Owner shall have authority to suspend work.  Field representatives shall have no authority to permit deviation from the Contract Documents and Owner; the Contractor shall be liable for any deviations made without a written order from the Engineer.

HOFFMAN ESTATES PARK DISTRICT

Project Requirements/Owner Intent

It is strongly recommended that all contractors attend the on-site pre-bid meeting to obtain any further information and assess the PSS&WC Lap and Activity Pool room prior to submitting their bid to accurately measure the paintable surfaces, evaluate the existing conditions and the challenges of working over the emptied pools uneven floor surface.

Pre-bid meeting:	Tuesday, April 12, 2016 10:00am

Prairie Stone Sports & Wellness Center

5050 Sedge Blvd

Hoffman Estates, IL 60192

The scope of the services are to include the thorough preparation and painting of the Lap and Activity Pool celling, including all metal roof support structures and all structures that interface with the ceiling. The scope of the work does not include the painting of the walls or any aspect of the swimming pool, whirlpool, nor the pool deck.

Within the preparation process for the painting of the Lap and Activity Pool ceiling, all walls, tile floors, sprinkler heads, and pool and whirlpool envelopes within the Lap and Activity Pool area must be covered and protected by the contractor, as required. Protection will be maintained during the course of the project.

The Lap and Activity Pool and whirlpool will be drained of water throughout the painting and drying process.

The contractor is to clean, scrape, grind, sand, etc. all loose and peeling paint, rust, dirt, grime, or anything else that might inhibit the new paint from sticking / bonding to the old surface. Any additional methods not mentioned above must be approved by the owner. All surfaces to be painted in the Lap and Activity Pool room must receive appropriate preparation treatment.

All necessary surfaces will be primed with a VOC compliant primer or equivalent. The owner is open to other quality products recommended by the contractor, as long as it has been approved by the owner. (Specifications of paint and additional products should be included within bid packet). Work shall include the entire metal deck ceiling surface, all metal roof supports, as well as the sprinkler piping and all that interfaces with the ceiling. Painting of the primed metal ceiling deck and sprinkler system shall be completed with a high quality, low VOC and low odor epoxy paint that resists yellowing, or equivalent. Color shall be white to coincide with existing color. The contractor shall present a color pallet to the owner, so the owner can select and of approve the final shade of white before the paint is applied.

The contractor will provide a two year warrantee against chipping, flaking, peeling, etc. on all painted surfaces included within this project.

Note: All warrantee work will be completed with the water in the swimming pool.

Complete set up, break down, and thorough clean-up of the area is expected to be completed by the vendor. Cleaning of the aquatic floor, power washing of the pools and cleaning of all exposed surfaces is expected to be completed by vendor after completion of project.

The supply of all equipment necessary for project completion will be the responsibility of the vendor. This includes equipment such as scaffolding/ platforms and industrial size dehumidification equipment necessary to complete project.

The contractor will be working over a painted pool surface and a tiled pool deck. The contractor shall insure that no damage occurs to the floor surfaces due to the contractor’s work.

The Hoffman Estates Park District will drain the Lap and Activity Pool and whirlpool prior to the vendor commencing the work. The park district will also be responsible for filling the pool and whirlpool after completion of work.

Access to Lap and Activity Pool will be permitted through the south patio area for deliveries and set up. The public will not be allowed within the Activity or Lap Pool area while project is being conducted.

The dimensions of the PSS&WC Activity Pool space and ceiling are the following: 51’3” W x 99’6”, with ceiling to floor height of 26’8” as noted within the renderings on page 32 of this document. The dimensions of the PSS&WC lap pool space and ceiling are the following: 50’ W x 85’, with ceiling to floor height of 16’6” as noted within the renderings on page 33 of this document. The contractor must confirm precise measurements for the ceiling for this project. Note: renderings and photos of the Lap and Activity Pool ceiling have been included within the bid document.

Activity Pool

Lap Pool

TRADE SPECIFIC SPECIFICATION

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

HIGH-PERFORMANCE COATINGS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL:

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions.

      - SUMMARY

        - Section includes surface preparation and application of high-performance coating systems on the following substrates:

Revise lists below to suit Project.

          - Interior Substrates:

            - Steel.

            - Galvanized metal.

      - DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

        - Gloss Level 6:  70 to 85 units at 60 degrees, according to ASTM D 523.

        - Gloss Level 7:  More than 85 units at 60 degrees, according to ASTM D 523.

      - ACTION SUBMITTALS:

        - Product Data:  For each type of product indicated.  Include preparation requirements and application instructions.

        - Samples for Initial Selection:  For each type of topcoat product indicated.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain "Samples for Verification" Paragraph below with or without above.

        - Samples for Verification:  For each type of coating system and in each color and gloss of topcoat indicated.

          - Submit Samples on rigid backing, 8 inches square.

          - Step coats on Samples to show each coat required for system.

          - Label each coat of each Sample.

          - Label each Sample for location and application area.

        - Product List:  For each product indicated, include the following:

          - Cross-reference to paint system and locations of application areas.  Use same designations indicated on Drawings and in schedules.

          - Printout of current "MPI Approved Products List" for each product category specified in Part 2, with the proposed product highlighted.

          - VOC content.

      - MAINTENANCE MATERIAL SUBMITTALS

        - Furnish extra materials, from the same product run, that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Retain "Coatings" Subparagraph below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

          - Coatings:  5 percent, but not less than 1 gallon of each material and color applied.

      - DELIVERY, STORAGE, AND HANDLING

        - Store materials not in use in tightly covered containers in well-ventilated areas with ambient temperatures continuously maintained at not less than 45 degree F.

          - Maintain containers in clean condition, free of foreign materials and residue.

          - Remove rags and waste from storage areas daily.

If necessary, insert special requirements for fire protection, heating, ventilation, and other conditions for storage areas on-site.

      - FIELD CONDITIONS:

Some manufacturers' products may require higher temperatures for proper curing.  Consult manufacturers and revise first paragraph below to suit requirements for specific products if necessary.

        - Apply coatings only when temperature of surfaces to be coated and surrounding air temperatures are between 50 and 95 degree F.

        - Do not apply coatings when relative humidity exceeds 85 percent; at temperatures less than 5 degree F above the dew point; or to damp or wet surfaces.

- PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products.  For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

"Manufacturers" Article below lists manufacturers with MPI-approved products for MPI paint categories included in the Section Text.  Not all manufacturers provide approved products in every category.  The list was current when this Section was updated; see current "MPI Approved Products List" at www.paintinfo.com for updated lists of manufacturers.

      - MANUFACTURERS

Retain "Manufacturers" or "Products" Paragraph in this article.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

        - Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

          - Benjamin Moore & Co.

          - Duron, Inc.

          - Euclid Chemical Company.

          - ICI Paints.

          - M.A.B. Paints.

          - Sherwin-Williams Company (The).

          - TNEMEC, Inc.

Retain "Products" Paragraph below and lists of manufacturers and products in other Part 2 articles to require specific products or a comparable product from other manufacturers.

See lists of products currently approved by MPI in its "MPI Approved Products List" (available at www.paintinfo.com).  See "Writing Guide" Article in the Evaluations for further discussion.

        - Products:  Subject to compliance with requirements, provide one of the products listed in other Part 2 articles for the paint category indicated.

      - HIGH-PERFORMANCE COATINGS, GENERAL

        - MPI Standards:  Provide products that comply with MPI standards indicated and are listed in "MPI Approved Products List."

        - Material Compatibility:

Systems could fail if coatings are incompatible.  MPI's coating systems match primers and topcoats, taking compatibility into consideration.

          - Provide materials for use within each coating system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

          - For each coat in a coating system, provide products recommended in writing by manufacturers of topcoat for use in coating system and on substrate indicated.

If retaining subparagraph below, coordinate products retained, if any, in other Part 2 articles, to ensure that one manufacturer can provide products for an entire system.

          - Provide products of same manufacturer for each coat in a coating system.

Retain option in "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.2; coordinate with products selected.  For names of products that comply, see products listed as complying with LEED VOC limits on "MPI Approved Products List" (available at www.paintinfo.com).

        - VOC Content:  Products shall comply with VOC limits of authorities having jurisdiction and, for interior coatings applied at project site, the following VOC limits, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

          - Flat Paints and Coatings:  50 g/L.

          - Non-flat Paints and Coatings:  150 g/L.

          - Primers, Sealers, and Undercoaters:  200 g/L.

          - Anti-Corrosive and Anti-Rust Paints Applied to Ferrous Metals:  250 g/L.

          - Zinc-Rich Industrial Maintenance Primers:  340 g/L.

          - Pre-Treatment Wash Primers:  420 g/L.

          - Floor Coatings:  100 g/L.

          - Shellacs, Clear:  730 g/L.

          - Shellacs, Pigmented:  550 g/L.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

        - Low-Emitting Materials:  Interior coatings shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Color selection is often limited because some coating materials yellow or degrade under some environmental conditions.

        - Colors:  As selected by Architect from manufacturer's full range as indicated in color schedule. Refer to interior design documents.

Manufacturers' names and product designations can be inserted into subsequent articles.  Coatings in these articles are specified by reference to MPI paint categories and MPI numbers.  Note that each coating category below is unique within this Section and is identical to that used in the schedules at the end of Part 3.

If retaining subsequent articles, first revise Exterior High-Performance Coating Schedule and Interior High-Performance Coating Schedule in Part 3.  Then retain, delete, and insert appropriate products in subsequent articles to correspond to coating systems specified in the schedules.

      - METAL PRIMERS

        - Primer, Epoxy, Anti-Corrosive, for Metal:  MPI #101.

          - TNEMEC:  Series 135 Chembuild.

      - EPOXY COATINGS

        - Epoxy, High-Build, Low Gloss:  MPI #108.

          - TNEMEC:  Series L69 High Build Epoxolin II.

      - SOURCE QUALITY CONTROL

Retain this article for large projects or critical coatings where additional control is desired.  Delete if tests are not required.

        - Testing of Coating Materials:  Owner reserves the right to invoke the following procedure:

          - Owner will engage the services of a qualified testing agency to sample coating materials.  Contractor will be notified in advance and may be present when samples are taken.  If coating materials have already been delivered to Project site, samples may be taken at Project site.  Samples will be identified, sealed, and certified by testing agency.

          - Testing agency will perform tests for compliance with product requirements.

          - Owner may direct Contractor to stop applying paints if test results show materials being used do not comply with product requirements.  Contractor shall remove noncomplying coating materials from Project site, pay for testing, and recoat surfaces coated with rejected materials.  Contractor will be required to remove rejected materials from previously coated surfaces if, on recoating with complying materials, the two coatings are incompatible.

- EXECUTION

      - EXAMINATION

        - Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

        - Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

        - Proceed with coating application only after unsatisfactory conditions have been corrected.

          - Beginning coating application constitutes Contractor's acceptance of substrates and conditions.

      - PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and coating systems specified in Exterior High-Performance Coating Schedule and Interior High-Performance Coating Schedule.

        - Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates indicated.

        - Clean substrates of substances that could impair bond of coatings, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with high-performance coatings is critical.

          - Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce coating systems indicated.

Retain "Steel Substrates" Paragraph below if steel is not shop primed or if shop primer will be removed in the field.

        - Steel Substrates:  Remove rust, loose mill scale, and shop primer if any.  Clean using methods recommended in writing by paint manufacturer but not less than the following:

SSPC-SP 7/NACE No. 4 permits tight residues of rust, mill scale, and coatings to remain.  Be aware that blast cleaning methods are not very practical for use at the Project site and may not be allowed by authorities having jurisdiction.

SSPC-SP 6/NACE No. 3 is recommended by MPI as the minimum preparation for high-performance coatings and requires that two-thirds of surface area be free of visible residue.

          - SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

SSPC-SP 10/NACE No. 2 requires that 95 percent of surface area be free of visible residue.

Retain "Shop-Primed Steel Substrates" Paragraph below if primers are shop applied and will not be removed in the field.

If necessary, insert requirements for acid etching aluminum.

      - APPLICATION

        - Apply high-performance coatings according to manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual."

If Project requires restricted application method (e.g., using only spray or rollers), revise first subparagraph below accordingly.

          - Use applicators and techniques suited for coating and substrate indicated.

          - Coat surfaces behind movable equipment and furniture same as similar exposed surfaces.  Before final installation, coat surfaces behind permanently fixed equipment or furniture with prime coat only.

          - Coat back sides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

          - Do not apply coatings over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

If tinting is not required, delete first paragraph below.  Different tints will show through as topcoat erodes.

        - Tint each undercoat a lighter shade to facilitate identification of each coat if multiple coats of the same material are to be applied.  Tint undercoats to match color of finish coat, but provide sufficient difference in shade of undercoats to distinguish each separate coat.

        - If undercoats or other conditions show through final coat, apply additional coats until cured film has a uniform coating finish, color, and appearance.

        - Apply coatings to produce surface films without cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections.  Produce sharp glass lines and color breaks.

      - FIELD QUALITY CONTROL

        - Dry Film Thickness Testing:  Owner may engage the services of a qualified testing and inspecting agency to inspect and test coatings for dry film thickness.

          - Contractor shall touch up and restore coated surfaces damaged by testing.

          - If test results show that dry film thickness of applied coating does not comply with coating manufacturer's written recommendations, Contractor shall pay for testing and apply additional coats as needed to provide dry film thickness that complies with coating manufacturer's written recommendations.

      - CLEANING AND PROTECTION

        - At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

        - After completing coating application, clean spattered surfaces.  Remove spattered coatings by washing, scraping, or other methods.  Do not scratch or damage adjacent finished surfaces.

        - Protect work of other trades against damage from coating operation.  Correct damage by cleaning, repairing, replacing, and recoating, as approved by Architect, and leave in an undamaged condition.

        - At completion of construction activities of other trades, touch up and restore damaged or defaced coated surfaces.

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.3L.

      - INTERIOR HIGH-PERFORMANCE COATING SCHEDULE

Coating systems in this article are based on "MPI Architectural Painting Specification Manual." For renovation projects, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

Coordinate substrates and coating systems retained in this article with products retained in Part 2.

        - Steel Substrates:

"High-Build Epoxy System" Subparagraph below corresponds to MPI INT 5.1P.

          - Epoxy System:

            - Prime Coat:  Primer, epoxy, as recommended in writing by topcoat manufacturer.

            - Intermediate Coat:  Epoxy, gloss, MPI #77.

            - Topcoat:  Epoxy, gloss, MPI #77.

Retain one of two "Epoxy-Modified Latex System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1K.

Galvanized-metal substrates should not be chromate passivated.  If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

        - Galvanized-Metal Substrates:

Retain one of two "Epoxy System" subparagraphs below; system in first paragraph corresponds to MPI INT 5.3D.

          - Epoxy System:

            - Prime Coat:  Primer, epoxy, as recommended in writing by topcoat manufacturer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

            - Intermediate Coat:  Epoxy, gloss, MPI #77.

            - Topcoat:  Epoxy, gloss, MPI #77.

END OF SECTION