REQUEST FOR PROPOSALS

Job Site location:  	Willow Recreation Center

3600 Lexington Ave

Hoffman Estates Illinois 60169

and

Seascape Aquatic Center

1300 Moonlake Blvd.

Hoffman Estates Illinois 60169

The Hoffman Estates Park District is requesting pricing from qualified contractors to perform concrete slab mud jacking and crack filling work at Willow Recreation Center and Seascape Family Aquatic Center. All labor performed on the site by the successful contractor shall be paid in conformance with the Illinois Prevailing Wage.  A certified payroll will be required prior to invoicing for work. In addition, the successful contractor will be required to provide insurance documents naming Hoffman Estates Park District as additionally insured on the policy.  Insurance minimum requirements are available upon request.

Final payment will be made based on unit pricing of items installed and accepted by the district.  For the basis of this proposal estimated quantities of work have been provided so as to reflect the overall scope intent of the project.  In some cases the Park District reserves the right to eliminate certain items and replace those eliminated items with other items bid as part of this proposal.

Please return this completed form by September 1, 2016.  This work is to begin by the middle of September and be completed by October 28, 2016.  Invoicing is due the first week of November with payment the last week of November.

Concrete slab rising

Item #1A

Raise concrete slabs at Willow Recreation center marked with an orange dot to with-in ¼” of adjacent slabs or curbs via mud jacking or foam injection methodology.

Raise 260 lineal feet of concrete slabs at $__________per lin. Ft. as marked for a total

cost of

$______________________________

Item #1B

Caulk 420 lineal feet of cracks utilizing Vulkem 45 SSL or approved equal Polyurethane self-leveling caulk with backer rod at  $______________per foot for a total cost of

$______________________________

Item #2A

Raise concrete slabs at Willow Recreation center marked with an orange dot to with-in ¼” of adjacent slabs or curbs via mud jacking or foam injection methodology.

Raise 292 lineal feet of concrete slabs at $__________per lin. Ft. as marked  for a total cost of

$_______________________________

Item #2B

Caulk 375  lineal feet of cracks utilizing Vulkem 45 SSL or approved equal Polyurethane self-leveling caulk with backer rod at $______________per foot for a total cost of

$_______________________________

TOTAL COST OF 1A, 1B, 2A ,2B  		$_______________________________

Contractors Company name ________________________________________

Address     ______________________________________________________

Contact Person   _________________________________________________

Telephone  #    __________________________________________________

Email Address	___________________________________________________

Questions:	Contact Gary Buczkowski, Director of Planning and Development

Hoffman Estates Park District

1685 W. Higgins Rd

Hoffman Estates, IL 60192

847-561-2172

GBuczkowski@heparks.org

General Description Concrete slab raising

The work described in each Item includes the furnishing of all materials,

equipment, supplies, tools, the performance of all labor and services, and all

incidentals necessary to complete the concrete slab raising and / or void filling

under the concrete slab in a neat, substantial and workman-like manner.

A-a  Materials (Option A)

1. Cement Slurry Mixture: The slurry mixture used for raising concrete slabs

shall be composed of lime, sand, ground clay, Portland Cement (Type 1A

conforming to A.S.T.M. C150), and fly ash in the following proportions

by volume:

Lime / Fly Ash Mixture passing #50 sieve 100% 27%

Sand passing #4 sieve 100% 15%

Ground clay passing #4 sieve 100% 50%

Portland Cement – 3 ½ bag mix (approx.) 8%

(Should Fly Ash and/or Lime not be readily available, increase the amount

of Sand by 27% to mixture.)

This shall be accomplished by use of continuous mixer. All aggregate

shall be metered for precise mix design to assure consistent quality

control.

2. All materials for job site shall at all times be mobile and not stored in the

road or walk area, unless agreed upon between Contractor and Customer

at bid submittal.

3. Slurry material for Slab and Curb Raising shall be mixed with enough

potable water to a workable consistency (3 to 6 inch slump). Material

once mixed shall be utilized within one hour and may not be retempered

(unless so directly by the Engineer, if applicable).

4. There will be NO deviation from the specified mix design.

5. All holes drilled for injection pumping shall be repaired with an aggregate

mixture to match existing surface as best as possible. Holes will be

patched utilizing a mixture of Portland Type 1A Cement and mason sand

in a 2 to 1 proportion.

6.  All cracks and joints wider than ½” shall be filled with caulk utilizing backer rod  Installed 3/8 of an inch below the final walk surface. The remaining gap shall be filled with Vulkem 45 SSL self-leveling polyurethane caulk. The caulk should be sanded with white silicone sand to prevent sticking to foot traffic during curing process.  The caulked areas should protected from public crossing.

A-b Materials (Option B)

1.In the place of cement slurry two part expansion polyurethane foam may be used to lift and fill the void below the slab.

B. Equipment

1. Mixing equipment shall be a self-contained continuous mixer, with

calibrated mixing and delivery capability, carrying all water, cement and

aggregate needed for the job site. The continuous mixer shall meet or

exceed the Standards of Calibration as set forth by the Volumetric Mixer

Manufacturer Bureau (VMMB), a member of the National Ready Mix

Concrete Association (NRMCA), and conforming to ASTM 685, ACI

304.6 and CSA 23.7.

2. All materials pumped shall be of a minimum of 500 PSI to a maximum of

1,000 PSI mix design.

C. Work

1. Holes: The Contractor shall drill holes by whatever means convenient to

him, however Contractor shall exercise caution to prevent cracking of

concrete slab in which the hole is being drilled. The hole size for slab

raising operations shall be a minimum of one inch (1”) up to a maximum

of two inches (2”) in diameter. The holes shall be spaced as necessary to

uniformly to assure complete communication of slurry between holes.

2. Slab Raising: Slabs shall be raised to the required elevation and pitched at

one-quarter (1/4) inch per twelve (12) inches of lineal run, or as directed

by the inspector. If required, saw cuts shall be made at joints to allow free

movement of the work. Saw cutting is incidental to the unit price as bid

for slab raising, unless otherwise specified in the bid.

3. Patching Holes: Holes shall be cleaned the full depth of the slab by

removing excess slurry and wire brushing exposed sidewalls. Prior to

placement of the Portland Cement, the surface around the holes shall be

damp.

Slab raising holes shall not be cleaned out and patched until the slurry that

was pumped has been allowed to stabilize.

4. Clean Up: Slabs raised shall be thoroughly scraped and swept after

completion, but prior to patching. Surrounding grass areas adjacent to

slab raising shall be left in a clean, non-debrised condition. Clean up is

included in the unit price as bid for slab raising.

D. Clean-Up and Final Inspection

The Contractor shall have thorough and systematic clean-up operations following closely behind the construction work. He shall remove and properly dispose of all dirt and debris resulting from execution of the work. Defects of any nature whatsoever shall be promptly corrected.